## Sheet 1
| Name | Target | Achievement
Augmentation of water supply in JJ Clusters
output-390 | Length of new water pipeline laid in JJ clusters (km) | 40
output-392 | Length of water pipeline taken for replacement / repair works (km) | 20
output-394 | Number of water samples tested for quality in JJ clusters | 11400
output-3879 | fgfdg | 210
outcome-374 | Number of JJ clusters provided water pipe lines | 27
outcome-376 | % of households in JJ clusters having access to piped water
outcome-378 | Number of metered connections provided in JJ clusters | NA
outcome-380 | Number of water tankers supplying water in JJ clusters (per day) | 30
outcome-382 | % of water lost due to leakages, theft and other factors (Non Revenue Water)* | 45
outcome-384 | % of samples tested that were found meeting quality standards | 97
Augmentation of water supply in Resettlement Colonies
output-378 | Length of new water pipeline laid in Resettlement Colonies (km)* | 655
output-380 | Length of water pipeline taken for replacement / repair works (km) | 180
output-382 | Number of water samples tested for quality in Resettlement Colonies | 11200
outcome-352 | Number of households benefitted in Resettlement Colonies* | NA
outcome-354 | % of households in Resettlement Colonies having access to piped water | 100
outcome-356 | Number of metered connections provided in Resettlement Colonies | NA
outcome-358 | % of water lost due to leakages, theft and other factors (Non Revenue Water)* | 45
outcome-360 | % of samples tested that were found meeting quality standards | 97
Augmentation of water supply in squatter resettlement colonies
output-384 | Length of NEW water pipeline laid in squatter re-settlement colonies (km) | 150
output-386 | Length of water pipeline for replacement / repair works (km)
output-388 | Number of water samples tested for quality in squatter re-settlement colonies | 1720
outcome-362 | Total number of squatter re-settlement colonies connected to water pipeline | 12
outcome-364 | % of squatter re-settlement colonies having access to piped water | 9
outcome-366 | Number of metered connections provided in Squatter resettlement colonies | NA
outcome-368 | Number of water tankers supplying water in squatter re-settlement colonies (per day) | 14
outcome-370 | % of water lost due to leakages, theft and other factors (Non Revenue Water)* | 45
outcome-372 | % of samples tested that were found meeting quality standards | 97
Augmentation of water supply in urban villages
output-370 | Length of new water pipeline laid in urban villages (km)* | 405
output-372 | Length of water pipeline taken for replacement / repair works (km) | 195
output-374 | Number of water samples tested for quality in urban villages | 23500
output-376 | % of progress of construction of 6.0 ML Mahipalpur Underground Reservoir (UGR) | 100
outcome-340 | Number of households benefitted in urban villages* | NA
outcome-342 | % of households in urban villages having access to piped water | 100
outcome-344 | Number of metered connections provided in urban villages | NA
outcome-346 | % of water lost due to leakages, theft and other factors (Non Revenue Water)* | 45
outcome-348 | % of samples tested that were found meeting quality standards | 97
outcome-350 | Increase in the frequency of water supply (in hours per day) | 2
Distribution Mains and Reservoirs
output-424 | % of works completed under the overall project of improving efficiency of water distribution network and reduction in NRW and providing network in the entire command area of Malviya Nagar UGR | 100
output-426 | Number of water samples tested for quality | 2300
output-428 | Number of complaints / grievances received from customers | 20000
output-430 | Length of water pipeline laid/replaced (in KM) | 71
output-432 | Number of UGRs newly commissioned | 3
output-434 | Length of water pipeline laid/replaced (in KM) | 15
output-436 | Number of UGRs newly commissioned | 2
output-438 | Length of water pipeline laid/replaced (in KM)-Najafgarh B UGR | 74
output-440 | Length of water pipeline laid / replaced (in KM)-Mundka UGR | 20
output-442 | Number of New UGRs to be commissioned
output-444 | Length of water pipeline laid/replaced (in Km) | 20
output-446 | Number of New UGRs to be commissioned | 0
outcome-418 | % of households in command area of Malviya Nagar having access to piped water (Total households - 45000) | 100
outcome-420 | Number of household benefitting from 24x7 supply | 5000
outcome-422 | % of water lost due to leakages, theft and other factors (Non Revenue Water) | 36
outcome-424 | Number of water tankers supplying water | 4
outcome-426 | % of samples that were tested and were found meeting quality standards | 97
outcome-428 | % of complaints redressed in 24 hours | 72
outcome-430 | Improvement in average water supply hours (hours per day) | 4
outcome-432 | Number of households benefitted | 58000
outcome-434 | Number of colonies to be under command area of Karala Mangolpuri Y-Block and Mangol pur Kalan UGR | 28
outcome-436 | Improvement in average water supply hours (hours per day) | 4
outcome-438 | Number of households benefitted | 40000
outcome-440 | Number of colonies to be under command area of Karala Mangolpuri Y-Block and Mangol pur Kalan UGR | 15
outcome-442 | Improvement in average water supply hours (hours per day)-Najafgarh B | 2
outcome-444 | Number of households benefitted-Najafgarh B | 30000
outcome-446 | Number of colonies to be under command area of Najafgarh B | 90
outcome-448 | Improvement in average water supply hours (hours per day)-Mundka | 2
outcome-450 | Number of households benefitted-Mundka | 20000
outcome-452 | Number of colonies to be under command area of Mundka | 20
outcome-454 | Number of households benefitted in villages | 0
outcome-456 | % of work | 85
outcome-458 | % of work | 50
Improvement of existing water works
output-400 | % of works completed for replacement of old water lines in Mehrauli and Vasant Vihar through PPP model | 90
output-402 | Water supplied in command area of Mehrauli & Vasant Vihar (in MGD) | 5
output-404 | Number of water samples tested for quality | 850
output-406 | Number of complaints / grievances received from customers | 800
output-408 | % of works completed under the overall improvement project in Nangloi Water Treatment Plant (WTP) and its command area through PPP model | 85
output-410 | Average water production in MGD at Nangloi WTP (capacity - 40 MGD) | 42
output-412 | Number of water samples tested for quality | 24000
output-414 | Number of complaints/ grievances received from customers | 30000
outcome-392 | % of households in command area of Mehrauli and Vasant Vihar having access to piped water (Total households - 43,000) | 90
outcome-394 | Number of households benefitted from 24x7 water supply | 6000
outcome-396 | % of water lost due to leakages, theft and other factors (Non Revenue Water) | 25
outcome-398 | % of samples that were tested and were found meeting quality standards | 97
outcome-400 | % of complaints redressed in 24 hours | 96
outcome-402 | % of households in command area of Nagloi having access to piped water (Total households - 180,000) | 95
outcome-404 | Number of households benefitting from 24x7 supply | 3000
outcome-406 | % of water lost due to leakages, theft and other factors (Non Revenue Water) | 50
outcome-408 | Number of water tankers supplying water in Nangloi WTP command area | 110
outcome-410 | % of samples that were tested and were found meeting quality standards | 97
outcome-412 | % of complaints redressed in 24 hours | 50
Jawaharlal Nehru National Urban Renewal Mission (JnNURM) projects
output-470 | % of works completed of STPs at Nilothi & Papankalan | 100
output-472 | Time line for commissioning of STPs at Nilothi and Pappankalan | 31.12.2018
output-474 | Total length of interceptor sewer laid (km) | 53
outcome-474 | Total capacity of newly commissioned STPs at Nilothi and Papankalan (MGD) | 40
outcome-476 | Power generated from sewage plants (kWh/day) | 15000
outcome-478 | Total flow of Sewage trapped for treatment at various STPs (in MGD) | 242
Metering and Leakage Management
output-334 | Total Active Consumer (In Lakh) | 24
output-336 | Total meter connection (in LAKH) | 22
output-338 | Functional meters (in Lakh) | 15
output-340 | Demand raised through billing excluding 20 KL demand (in Cr/annum) | 1700
output-342 | Demand raised for 20 KL subsidy(in Cr/annum) | 480
output-344 | Total Demand Raised (in Cr/annum) | 2105
output-346 | SITC of electromagnetic flow meters and GPS system and inlet RTU for various Rising Mains across Delhi including 5 years Operation & Maintenance (86 Nos. Flow meters) % of Physical Progress | 100
output-348 | SITC of electromagnetic flow meters to be installed at various UGRs/tapings across rising mains of Delhi Jal Board including 5 years Operation & Maintenance (39 Nos. Flow Meters) % of Physical Progress | 100
output-350 | SITC of electromagnetic flow meters at various UGRs/tapings risings mains and outlet of secondary UGRs of Delhi Jal Board for secondary audit including 5 years Operation & Maintenance (2746 Nos. Flow Meters) % of Physical Progress | 100
output-352 | Supply, Installation, Testing and Commissioning of 120 Nos. Electromagnetic flow meters % of Physical Progress | 100
output-354 | Supply, Installation and Commissioning of 13 Nos. Electromagnetic flow meters and GPS system for West Delhi, Rohini and RWS Water mains with 05 years O&M % of Physical Progress | Already Completed
outcome-292 | Total quantity of water production (in MGD) | 900
outcome-294 | Total Billed Quantity (in MGD) | 440
outcome-296 | % of water lost (Non Revenue Water) | 45
outcome-298 | Total revenue earned excluding 20 KL subsidy (Rs. Crore/ per annum) | 1375
outcome-300 | Amount of subsidy received towards 20 KL ( Rs in crore/annum) | 480
outcome-302 | Total Revenue Collection | 1855
outcome-304 | % Bill collection efficiency (overall) | 90
outcome-306 | % of Physical Progress | 100
outcome-308 | % of Physical Progress | 100
outcome-310 | % of Phyiscal Progress | 100
outcome-312 | % of Physcal Progress | 100
outcome-314 | % of Physcal Progress | Already Completed
National River Conservation Programme (Yamuna Action Plan (YAP)-III)
output-504 | % of construction/ rehabilitation of 3 STPs | 32
output-506 | Length of trunk sewers rehabilitated (km) | 15
output-508 | Length of rising mains rehabilitated (km) | 12
outcome-498 | Reduction in pollution (BOD load) due to sewerage into Yamuna (In MGD ) | 0
outcome-500 | Reduction in untreated sewage draining in the Yamuna (MGD) | 6
Providing water supply in rural areas
output-364 | Length of new water pipeline laid in rural areas (km)*( Cummulative) | 780
output-366 | Length of water pipeline taken for replacement / repair works (km) | 290
output-368 | Number of water samples tested for quality in rural areas | 17300
outcome-330 | Number of households benefitted in rural villages* | NA
outcome-332 | % of rural households having access to piped water | 99
outcome-334 | Number of metered connections provided in rural areas | NA
outcome-336 | % of water lost due to leakages, theft and other factors (Non Revenue Water) | 45
outcome-338 | % of samples tested that were found meeting quality standards | 97
Providing water supply in Unauthorised Colonies
output-358 | Length of NEW water pipeline laid in unauthorised colonies (km) | 4700
output-360 | Length of water pipeline taken for replacement/ repair works (km) | 85
output-362 | Number of water samples tested for quality in unauthorised colonies | 25500
outcome-318 | Total number of unauthorised colonies connected to water pipeline | 1525
outcome-320 | % of all unauthorised colonies eligible for water supply that have access to piped water | 92
outcome-322 | Total number of metered connections provided in unauthorised colonies (Cumulative) | NA
outcome-324 | Number of water tankers supplying water in unauthorised colonies (per day) | 1100
outcome-326 | % of water lost due to leakages, theft and other factors (Non Revenue Water) | 45
outcome-328 | % of samples tested that was found meeting quality standards | 97
Ranney wells & Tube wells
output-416 | Number of tube wells added | 4150
output-418 | Number of tube wells redeveloped | 450
output-420 | Number of Ranney wells added
output-422 | Number of Ranney wells redeveloped
outcome-414 | Amount of water extracted from Ranney wells & tube wells (MGD) | 86
outcome-416 | Number of households benefitted
Raw Water Mains
output-448 | Providing and laying 2400 MM dia MS gravity main from DSB canal to Haiderpur and Chandrawal WTP % of physical progress | NA
output-3875 | IndicatorNeed2 | 505
outcome-460 | Length of raw water main to provide amonia free raw water at wazirabad and chandrawal WTP (in Kms) | 50
outcome-3113 | IndicatorNeed | 1000
outcome-3114 | IndicatorNeed3 | 333
outcome-3115 | IndicatorIndicator | 200
Replacement of old distribution system & strengthening of transmission network
output-396 | Length of old/defective pipeline replaced (km) | 2500
output-398 | % of works completed in laying/replacing the water pipeline from Haiderpur WTP to Deer Park (Target - 14 km) | 100
outcome-386 | Amount of water saved by plugging leakages in million of gallons per day (MGD) | 4
outcome-388 | % of total water supply saved from leakages | 2
outcome-390 | Amount of water saved by plugging leakages (MGD) | 5
Scheme test Scheme
outcome-3117 | Scheme Indicator test | 5635
Sewerage facilities in Regularised Unauthorised colonies
output-496 | Length of new sewer line laid in replacement of old/defective line (in KM) | 1125
output-498 | Length of sewer line where desilting activities conducted | 3350
outcome-492 | Number of regularized un-authorised colonies where new sewer line repaired | 20
Sewerage facilities in Rural Villages
output-494 | Length of new sewer line laid in rural villages (km)* | 45
outcome-486 | Total number of rural villages connected to sewerage network | 57
outcome-488 | % of all rural villages provided with sewerage facilities | 30
outcome-490 | Number of households newly connected to sewerage network | 600
Sewerage facilities in Unauthorised Colonies
output-476 | Length of NEW sewer line laid in unauthorised colonies (km) | 2600
output-478 | Decentralization of STPs & sewerage system in Burari area % of Physcal Progress | 0
output-480 | Decentralization of STPs & Sewerage system in Chattarpur area % of Physcal Progress | 0
output-482 | Decentralization of STPs & Sewerage system in Kirari area % of Physcal Progress | 0
output-484 | Decentralization of STPs & Sewerage system in Narela, Zindpur and Palla area % of Physcal Progress | 0
output-486 | Decentralization of STPs & Sewerage system in Bawana and Kanjhawala area % of Physcal Progress | 0
output-488 | Decentralization of STPs & Sewerage system in Badarpur area % of Physcal Progress | 0
output-490 | Decentralization of STPs & Sewerage system in Mundka (Part) area % of Physcal Progress | 0
output-492 | STPs in Najafgarh Area (Capacity of the STPs shall be finalized after actual flow measurements in the command area) | 0
outcome-480 | Total number of unauthorised colonies connected to sewerage network | 634
outcome-482 | % of all eligible unauthorised colonies that are provided with sewerage facilities | 42
outcome-484 | Total number of households connected to sewerage network (Cumulative) | 634000
Sewerage Treatment Plants (STP), Sewerage Pumping Stations (SPS) & Rising mains
output-450 | Number of existing STPs | 32
output-452 | Total installed capacity of existing STPs (MGD) | 607
output-454 | Number of existing STPs undergoing rehabilitation of infrastructure | 1
output-456 | Number of new STPs under construction | 17
output-458 | Number of STPs with more than 50% construction completed | 0
output-460 | Number of new STPs with 100% construction completed and facility operationalised | 2
output-462 | Total capacity of STPs under construction (MGD) | 109
output-464 | Additional treatment capacity added due to newly commissioned STPs (MGD) | 80
output-466 | Number of SPSs to be newly commissioned | 2
output-468 | Length of Rising mains to be laid under this project (in Km) | 10
outcome-462 | % of installed capacity of STPs that is currently under use | 95
outcome-464 | % STPs where BOD of treated effluent is under 10ppm | 25
outcome-466 | % STPs whose TSS of treated effluent is under 10ppm | 19
outcome-468 | Total sewerage generated in Delhi (MGD) | 720
outcome-470 | Sewerage generated in Delhi that goes to River Yamuna untreated (MGD) | 130
outcome-472 | % of total sewerage that goes to River Yamuna untreated | 18
Trunk, Peripherals, Sewer and Gravity Duct
output-500 | Length of new trunk /peripheral sewers to be laid (Km) | 8.35
output-502 | Rehabilitation of trunk /peripheral sewers (Km) | 207
outcome-494 | Plant capacity under use at Yamuna Vihar STP in MGD (Installed capacity -135)
outcome-496 | Plant capacity under use at Rithala and Keshopur STP in MGD, Okhla, Vasant Kunj(Installed capacity - 277 MGD) | 260
Water subsidy to consumers
output-356 | Water subsidy given per month (Rs.in crore) | 40